## Meter Scan
{79A32541-E41B-11d5-B53C-00105A18D1D9} |  |  |  | A Greater Measure of Confidence
{79A32543-E41B-11d5-B53C-00105A18D1D9} | DMM Scan: Scan DMM channels
1
Task: Meter Scan
Task | Name | Meter Scan
Description
| Created By | Admin
| Company | SPecialiST RePack
| Date Created | 2025-08-25
| Date Modified | 2025-08-25
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | Meter Config
Arm Trigger | Scan Mode | Run Once
Source
Count
Timer
Bypass
Sample Trigger | Source
Count
Delay
Bypass
Layer Done
Measurement Done
Data Location | Worksheet | det4
| Starting Col | K
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Use one table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Headers | Yes
| Add Units | No
| Scroll Display | No
| Status Data | No
| Timestamp | Absolute
| VSource | Yes
| Poll Interval | 100 | msec
Task Data
Note on C1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task initiates the measurement, reads and saves the measurement values in a worksheet and/or log file.
Note on A5: Enter descriptive information for this ExceLINX task
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Configuration sheet ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure worksheet to use for this task.
Note on A13: Setup for instrument arm layer.
Note on B13: Select the scan mode: Scan Once or Continuously
Note on B14: Select the control source of arm layer.
Note on B15: Enter measure count of arm layer.
Note on B16: Enter arm layer timer interval if using arm layer Source = Timer.
Note on D16: Select the units of time for trigger timer.
Note on B17: Select to enable or disable bypass of arm layer.
Note on A18: Setup for instrument trigger layer.
Note on B18: Select the control source of trigger layer.
Note on B19: Enter measure count of trigger layer.
Note on B20: Enter trigger delay of trigger layer.
Note on D20: Select the units of time for trigger delay.
Note on B21: Select to enable or disable bypass of trigger layer.
Note on B22: Select the output trigger line for the trigger layer is completed.
Note on B23: Select the output trigger line after a measurement is completed.
Note on A24: Select where and how ExceLINX will save data for this task.
Note on B24: Select the worksheet where ExceLINX will store the task data.
Note on B25: Enter the starting column for the task data.
Note on B26: Enter the starting row for the task data.
Note on B27: Select whether to organize task data by rows or columns.
Note on B28: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B29: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B30: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B31: Select log file data format.
Note on A32: Select how ExceLINX should format data for this task.
Note on B32: Select "Yes" if ExceLINX should add automatic task data headers.
Note on B33: Select "Yes" if ExceLINX should label data with measurement units.
Note on B34: ExceLINX should automatically display cells with the most recent data.
Note on B35: Select "Yes" if ExceLINX should retrieve the instrument status code.
Note on B36: Select timestamp format for measurements.
Note on B37: Select "Yes" if ExceLINX should retrieve the source voltage for each reading.
Note on B38: Select time interval for checking measurement status of instrument.
Note on D38: Select the units of time for poll Interval.
Note on A40: Default location to store task data. Change the location using the "Data Location" form.

## Meter Config
{79A32541-E41B-11d5-B53C-00105A18D1D9} |  | DMM Config: Configure DMM Channels | [9 empty] | A Greater Measure of Confidence
{79A32542-E41B-11d5-B53C-00105A18D1D9}
1
Task: Configure Meter
Task |  |  |  | Name |  |  |  |  | Meter Config
Description
|  |  |  | Created By |  |  |  |  | Admin
|  |  |  | Company |  |  |  |  | SPecialiST RePack
|  |  |  | Date Created |  |  |  |  | 2025-08-25
|  |  |  | Date Modified |  |  |  |  | 2025-08-25
Status/Cmds
Instrument |  |  |  | Device |  |  |  |  | MODEL_6487_at_COM2
|  |  |  | Model |  |  |  |  | M6487
|  |  |  | Front Panel Lockout |  |  |  |  | On
Setup |  |  |  | Power Line Frequency |  |  |  |  | Auto
|  |  |  | Auto Zero |  |  |  |  | On
|  |  |  | Display Digits |  |  |  |  | 5½
|  |  |  | Zero Correct |  |  |  |  | Off
|  |  |  | Zero Check |  |  |  |  | Off
Digital Output |  |  |  | Digital Port Auto Clear |  |  |  |  | Off
|  |  |  | Digital Output Pattern |  |  |  |  | 15
|  |  |  | Test Pass Pattern |  |  |  |  | 15
|  |  |  | Lower 1 Fail Pattern |  |  |  |  | 15
|  |  |  | Upper 1 Fail Pattern |  |  |  |  | 15
|  |  |  | Lower 2 Fail Pattern |  |  |  |  | 15
|  |  |  | Upper 2 Fail Pattern |  |  |  |  | 15
|  |  |  | Pattern Pulse Width |  |  |  |  | 0.0001 |  |  |  | sec
|  |  |  | Line 4 Mode |  |  |  |  | EOT
|  |  |  | TTL Level for Busy |  |  |  |  | Low
Measurement Configuration
Measurement |  |  |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Median |  | Digital Filter |  | Sampling | Options
Function | Range | ULimit | LLimit | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Rank | Enb | Count | Rate | Opt1 | Opt2 | Opt3 | Opt4
Current | 2 uA | 0.021 | 2.1e-09 | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | Off |  | SLOW | Off
Source Configuration
Stimulus | [5 empty] | Current |  |  |  | Safety
Enb | Function |  | Range |  |  | Limit |  |  |  | Interlock
Auto | VSweep |  | Auto |  |  | 2.5 mA |  |  |  | Off
DC Source Parameters
Source Voltage
10
Voltage Sweep Parameters
Start Voltage |  | Stop Voltage |  | Step Voltage |  |  |  | Step Time(sec)
0 |  | 300 |  | 1 |  |  |  | 1
Alternating Voltage Parameters
Voltage | Time(sec) | Readings Per Voltage Phase |  |  |  | Cycles |  | Clear Buffer Before Each Scan
Note on F1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures 6485/6514 instrument and also serves as a configuration sheet for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task
Note on F5: Enter a brief name for this task.
Note on F6: Enter any additional comments for this task.
Note on F7: Enter the name of the person who created this task.
Note on F8: Enter the name of the comany that created this task.
Note on F9: Date that you first created this task.
Note on F10: Date that you last modified this task.
Note on F11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on F12: Select an instrument device for this task.
Note on F13: Instrument Model of the selected device.
Note on F14: Select to enable or disable the front panel key lockout
Note on A15: Setup how ExceLINX will configure global options for this instrument.
Note on F15: Select instrument power line frequency 50 or 60Hz; or Select 'Auto' to let the instrument automatically detect the power line frequency.
Note on F16: Select to enable or disable autozeroing of measurements.
Note on F17: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on F18: Select to enable or disable zero correction of measurements.
Note on F19: Select to enable or disable zerochecking of measurements.
Note on A20: Setup how ExceLINX will configure alarm limit options for instrument model 6487/6514.
Note on F20: Select to enable or disable digital port auto-clear.
Note on F21: Enter 4-bit (0 to 15) digital output pattern.
Note on F22: Enter 4-bit (0 to 15) limit test pass pattern of digital output.
Note on F23: Enter 4-bit (0 to 15) limit 1 lower fail pattern of digital output.
Note on F24: Enter 4-bit (0 to 15) limit 1 upper fail pattern of digital output.
Note on F25: Enter 4-bit (0 to 15) limit 2 lower fail pattern of digital output.
Note on F26: Enter 4-bit (0 to 15) limit 2 upper fail pattern of digital output.
Note on F27: Enter pulse width of digital output pattern.
Note on F28: Select the output line 4 mode.
Note on F29: Select the active TTL level for busy of output line 4.
Note on A31: Enter the configuration parameter values for this instrument.
Note on A32: Select measurement function, range for this instrument.
Note on F32: Select scaling options for this measurement.
Note on K32: Set alarm limits for this measurement.
Note on Q32: Select the median filter setting for this measurement.
Note on S32: Select the average filter setting for this measurement.
Note on U32: Select the sampling rate for this measurement.
Note on V32: Select from available options for this measurement function.
Note on A33: Select measurement function for this instrument.
Note on C33: Select measurement range for this instrument.
Note on D33: Enter the upper limit for auto-range.
Note on E33: Enter the lower limit for auto-range.
Note on F33: Enter a relative value to subtract from all measurements.
Note on G33: Select mathematical calculation method (linear, percent, or no scaling) for measurement.
Note on H33: Enter value for slope of linear scaling or value for percent deviation.
Note on I33: Enter offset value for linear scaling.
Note on J33: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K33: Enable or disable alarm 1 for this measurement.
Note on L33: Enter high value for limit range 1.
Note on M33: Enter low value for limit range 1.
Note on N33: Enable or disable alarm 2 for this measurement.
Note on O33: Enter high value for limit range 2.
Note on P33: Enter low value for limit range 2.
Note on Q33: Select to enable or disable median filter for this measurements.
Note on R33: Enter the rank value of median filter.
Note on S33: Select to enable or disable average filter for this measurements.
Note on T33: Enter the count value of average filter.
Note on U33: Select the sampling rate for this measurement.
Note on V33: Select to enable or disable guard for voltage, resistance; or damping for current; or auto-discharge for charge measurement.
Note on W33: Select to enable or disable external feedback for voltage; or Enter auto-discharge level for charge measurement.
Note on X33: Select the Vsource Operate/Standby state; or Enter Vsource output level for Model 6487 only.
Note on Y33: Enter the current limit for the Vsource for model 6487 only. The valid range is 0.000025 to 0.0025 Amps.
Note on A36: Enter the configuration parameter values for stimulus source.
Note on A37: Select the stimulus source parameters for this instrument.
Note on H37: Select the current options for this stimulus source.
Note on L37: Select the safety options for this stimulus source.
Note on A38: Select to enable/disable the stimulus source.
Note on C38: Select the stimulus source function for this instrument.
Note on E38: Select the stimulus source range for this instrument.
Note on H38: Select the stimulus source current limit for this instrument.
Note on L38: Select to enable/disable the stimulus source safety interlock.
Note on A41: Enter the configuration parameter values for stimulus source.
Note on A42: Enter the source voltage for the DC stimulus source function.
Note on A45: Enter the configuration parameter values for stimulus source.
Note on A46: Enter the start voltage for the voltage sweep stimulus source function.
Note on D46: Enter the stop voltage for the voltage sweep stimulus source function.
Note on F46: Enter the step voltage for the voltage sweep stimulus source function.
Note on J46: Enter the step duration in seconds for the voltage sweep stimulus source function.
Note on A49: Enter the configuration parameter values for stimulus source.
Note on A50: Enter voltage of the enabled phase for the voltage sweep stimulus source function.
Note on C50: Enter the half cycle duration in seconds for the voltage sweep stimulus source function.
Note on D50: Select the number of readings in a half cycle for the voltage sweep stimulus source function.
Note on H50: Enter the number of cycles to average readings for the voltage sweep stimulus source function.
Note on J50: Select whether to clear the average reading buffer before each scan for the voltage sweep stimulus source function.

## det4
Readings | Timestamp | VSource | 20.2
7.6148e-10 | 0 | 0 | det4
1.0258e-09 | 1.374 | 1
1.0524e-09 | 2.7461 | 2
1.0901e-09 | 4.1191 | 3
1.1341e-09 | 5.4922 | 4
1.1027e-09 | 6.8643 | 5
1.1021e-09 | 8.2373 | 6
1.1104e-09 | 9.6104 | 7
1.1335e-09 | 10.9834 | 8
1.1594e-09 | 12.3555 | 9
1.2063e-09 | 13.7285 | 10
1.2582e-09 | 15.1016 | 11
1.3282e-09 | 16.4736 | 12
1.5553e-09 | 17.8467 | 13
1.8416e-09 | 19.2197 | 14
1.978e-09 | 20.5928 | 15
2.0649e-09 | 21.9658 | 16
2.1545e-09 | 23.3379 | 17
2.2614e-09 | 24.7109 | 18
2.3442e-09 | 26.084 | 19
2.405e-09 | 27.457 | 20
2.422e-09 | 28.8291 | 21
2.4017e-09 | 30.2021 | 22
2.3641e-09 | 31.5752 | 23
2.3259e-09 | 32.9482 | 24
2.3114e-09 | 34.3213 | 25
2.313e-09 | 35.6934 | 26
2.3143e-09 | 37.0664 | 27
2.3008e-09 | 38.4395 | 28
2.2848e-09 | 39.8115 | 29
2.2921e-09 | 41.1846 | 30
2.3216e-09 | 42.5576 | 31
2.3392e-09 | 43.9307 | 32
2.2963e-09 | 45.3027 | 33
2.2367e-09 | 46.6758 | 34
2.1974e-09 | 48.0488 | 35
2.2224e-09 | 49.4219 | 36
2.2915e-09 | 50.794 | 37
2.3657e-09 | 52.167 | 38
2.4149e-09 | 53.54 | 39
2.4408e-09 | 54.9121 | 40
2.4249e-09 | 56.2861 | 41
2.41e-09 | 57.6582 | 42
2.4083e-09 | 59.0312 | 43
2.4315e-09 | 60.4043 | 44
2.4342e-09 | 61.7764 | 45
2.4132e-09 | 63.1494 | 46
2.3903e-09 | 64.5225 | 47
2.3612e-09 | 65.8955 | 48
2.3605e-09 | 67.2676 | 49
2.4096e-09 | 68.6406 | 50
2.4665e-09 | 70.0137 | 51
2.5094e-09 | 71.3857 | 52
2.5457e-09 | 72.7588 | 53
2.5762e-09 | 74.1318 | 54
2.602e-09 | 75.5049 | 55
2.6183e-09 | 76.8779 | 56
2.633e-09 | 78.25 | 57
2.645e-09 | 79.6231 | 58
2.6583e-09 | 80.9961 | 59
2.6723e-09 | 82.3691 | 60
2.6785e-09 | 83.7412 | 61
2.6767e-09 | 85.1143 | 62
2.6823e-09 | 86.4873 | 63
2.6877e-09 | 87.8603 | 64
2.6949e-09 | 89.2324 | 65
2.7014e-09 | 90.6055 | 66
2.7043e-09 | 91.9785 | 67
2.7137e-09 | 93.3516 | 68
2.7189e-09 | 94.7236 | 69
2.723e-09 | 96.0967 | 70
2.73e-09 | 97.4697 | 71
2.746e-09 | 98.8428 | 72
2.7461e-09 | 100.2148 | 73
2.7604e-09 | 101.5879 | 74
2.7717e-09 | 102.9609 | 75
2.787e-09 | 104.334 | 76
2.7972e-09 | 105.7061 | 77
2.7975e-09 | 107.0791 | 78
2.8046e-09 | 108.4521 | 79
2.7904e-09 | 109.8252 | 80
2.8085e-09 | 111.1973 | 81
2.8291e-09 | 112.5703 | 82
2.8264e-09 | 113.9434 | 83
2.8383e-09 | 115.3164 | 84
2.8396e-09 | 116.6885 | 85
2.8598e-09 | 118.0615 | 86
2.8846e-09 | 119.4346 | 87
2.908e-09 | 120.8076 | 88
2.9348e-09 | 122.1797 | 89
2.9481e-09 | 123.5527 | 90
2.9701e-09 | 124.9258 | 91
3.0107e-09 | 126.2988 | 92
3.0439e-09 | 127.6709 | 93
3.0787e-09 | 129.0439 | 94
3.13e-09 | 130.417 | 95
3.1905e-09 | 131.79 | 96
3.2513e-09 | 133.1621 | 97
3.3328e-09 | 134.5352 | 98
3.4279e-09 | 135.9082 | 99
3.5306e-09 | 137.2813 | 100
3.6103e-09 | 138.6533 | 101
3.7546e-09 | 140.0264 | 102
3.9153e-09 | 141.3994 | 103
4.0759e-09 | 142.7725 | 104
4.2713e-09 | 144.1445 | 105
4.4902e-09 | 145.5176 | 106
4.7356e-09 | 146.8906 | 107
5.0183e-09 | 148.2627 | 108
5.3267e-09 | 149.6357 | 109
5.6771e-09 | 151.0088 | 110
6.0757e-09 | 152.3818 | 111
6.492e-09 | 153.7549 | 112
6.9674e-09 | 155.127 | 113
7.4836e-09 | 156.5 | 114
8.0357e-09 | 157.873 | 115
8.6385e-09 | 159.2461 | 116
9.2895e-09 | 160.6182 | 117
9.9675e-09 | 161.9912 | 118
1.0693e-08 | 163.3643 | 119
1.1432e-08 | 164.7373 | 120
1.2196e-08 | 166.1094 | 121
1.3011e-08 | 167.4824 | 122
1.3822e-08 | 168.8555 | 123
1.4685e-08 | 170.2275 | 124
1.5446e-08 | 171.6006 | 125
1.6275e-08 | 172.9736 | 126
1.7045e-08 | 174.3467 | 127
1.7858e-08 | 175.7188 | 128
1.85e-08 | 177.0918 | 129
1.9156e-08 | 178.4648 | 130
1.9814e-08 | 179.8379 | 131
2.0409e-08 | 181.21 | 132
2.1035e-08 | 182.583 | 133
2.1532e-08 | 183.9561 | 134
2.1975e-08 | 185.3291 | 135
2.2363e-08 | 186.7012 | 136
2.2707e-08 | 188.0742 | 137
2.3002e-08 | 189.4473 | 138
2.3295e-08 | 190.8203 | 139
2.3572e-08 | 192.1924 | 140
2.3864e-08 | 193.5654 | 141
2.3985e-08 | 194.9385 | 142
2.4201e-08 | 196.3115 | 143
2.4447e-08 | 197.6846 | 144
2.4584e-08 | 199.0566 | 145
2.4687e-08 | 200.4297 | 146
2.4739e-08 | 201.8027 | 147
2.4947e-08 | 203.1758 | 148
2.5112e-08 | 204.5479 | 149
2.5191e-08 | 205.9209 | 150
2.5206e-08 | 207.2939 | 151
2.5299e-08 | 208.666 | 152
2.5292e-08 | 210.0391 | 153
2.5273e-08 | 211.4121 | 154
2.5243e-08 | 212.7852 | 155
2.536e-08 | 214.1572 | 156
2.525e-08 | 215.5303 | 157
2.5333e-08 | 216.9033 | 158
2.5315e-08 | 218.2764 | 159
2.5653e-08 | 219.6484 | 160
2.5826e-08 | 221.0215 | 161
2.5951e-08 | 222.3945 | 162
2.6371e-08 | 223.7676 | 163
2.6478e-08 | 225.1396 | 164
2.6753e-08 | 226.5127 | 165
2.6793e-08 | 227.8857 | 166
2.6932e-08 | 229.2588 | 167
2.713e-08 | 230.6309 | 168
2.7343e-08 | 232.0039 | 169
2.7644e-08 | 233.377 | 170
2.8005e-08 | 234.75 | 171
2.8308e-08 | 236.123 | 172
2.8509e-08 | 237.4951 | 173
2.8778e-08 | 238.8682 | 174
2.9157e-08 | 240.2412 | 175
2.9371e-08 | 241.6133 | 176
2.9678e-08 | 242.9863 | 177
2.995e-08 | 244.3594 | 178
3.036e-08 | 245.7324 | 179
3.077e-08 | 247.1045 | 180
3.1283e-08 | 248.4775 | 181
3.1669e-08 | 249.8506 | 182
3.1974e-08 | 251.2236 | 183
3.2417e-08 | 252.5957 | 184
3.2876e-08 | 253.9688 | 185
3.3414e-08 | 255.3418 | 186
3.3786e-08 | 256.7148 | 187
3.4228e-08 | 258.0869 | 188
3.4966e-08 | 259.46 | 189
3.5614e-08 | 260.833 | 190
3.6125e-08 | 262.2061 | 191
3.6918e-08 | 263.5781 | 192
3.7642e-08 | 264.9512 | 193
3.8549e-08 | 266.3242 | 194
3.9437e-08 | 267.6973 | 195
4.037e-08 | 269.0693 | 196
4.1192e-08 | 270.4424 | 197
4.2251e-08 | 271.8154 | 198
4.3177e-08 | 273.1885 | 199
4.4104e-08 | 274.5615 | 200
4.5411e-08 | 275.9336 | 201
4.6588e-08 | 277.3066 | 202
4.7747e-08 | 278.6797 | 203
4.9031e-08 | 280.0518 | 204
5.048e-08 | 281.4248 | 205
5.1899e-08 | 282.7979 | 206
5.3387e-08 | 284.1709 | 207
5.512e-08 | 285.543 | 208
5.6764e-08 | 286.916 | 209
5.8585e-08 | 288.2891 | 210
6.0451e-08 | 289.6621 | 211
6.2148e-08 | 291.0342 | 212
6.4185e-08 | 292.4072 | 213
6.6149e-08 | 293.7803 | 214
6.8105e-08 | 295.1533 | 215
7.0016e-08 | 296.5254 | 216
7.235e-08 | 297.8984 | 217
7.4803e-08 | 299.2715 | 218
7.7191e-08 | 300.6436 | 219
7.9764e-08 | 302.0166 | 220
8.224e-08 | 303.3896 | 221
8.4882e-08 | 304.7627 | 222
8.7768e-08 | 306.1357 | 223
9.0607e-08 | 307.5078 | 224
9.3599e-08 | 308.8809 | 225
9.6643e-08 | 310.2539 | 226
9.9869e-08 | 311.626 | 227
1.0317e-07 | 312.999 | 228
1.0654e-07 | 314.3721 | 229
1.1008e-07 | 315.7451 | 230
1.1386e-07 | 317.1182 | 231
1.1776e-07 | 318.4902 | 232
1.2154e-07 | 319.8633 | 233
1.255e-07 | 321.2363 | 234
1.2966e-07 | 322.6094 | 235
1.3387e-07 | 323.9814 | 236
1.381e-07 | 325.3545 | 237
1.4276e-07 | 326.7275 | 238
1.4749e-07 | 328.1006 | 239
1.5213e-07 | 329.4727 | 240
1.5703e-07 | 330.8457 | 241
1.6194e-07 | 332.2188 | 242
1.6697e-07 | 333.5918 | 243
1.7214e-07 | 334.9639 | 244
1.777e-07 | 336.3369 | 245
1.8326e-07 | 337.71 | 246
1.8889e-07 | 339.083 | 247
1.948e-07 | 340.4551 | 248
2.0049e-07 | 341.8281 | 249
2.0674e-07 | 343.2012 | 250
2.1286e-07 | 344.5742 | 251
2.1919e-07 | 345.9463 | 252
2.2569e-07 | 347.3193 | 253
2.3232e-07 | 348.6924 | 254
2.39e-07 | 350.0654 | 255
2.4606e-07 | 351.4375 | 256
2.5301e-07 | 352.8105 | 257
2.6027e-07 | 354.1836 | 258
2.676e-07 | 355.5566 | 259
2.7496e-07 | 356.9297 | 260
2.8271e-07 | 358.3018 | 261
2.9043e-07 | 359.6748 | 262
2.9835e-07 | 361.0479 | 263
3.0624e-07 | 362.4199 | 264
3.1446e-07 | 363.793 | 265
3.2266e-07 | 365.166 | 266
3.3123e-07 | 366.5391 | 267
3.3968e-07 | 367.9111 | 268
3.4844e-07 | 369.2842 | 269
3.5738e-07 | 370.6572 | 270
3.6644e-07 | 372.0303 | 271
3.7566e-07 | 373.4023 | 272
3.8506e-07 | 374.7754 | 273
3.947e-07 | 376.1484 | 274
4.0418e-07 | 377.5215 | 275
4.1402e-07 | 378.8936 | 276
4.2381e-07 | 380.2666 | 277
4.3397e-07 | 381.6396 | 278
4.4393e-07 | 383.0127 | 279
4.5465e-07 | 384.3848 | 280
4.6498e-07 | 385.7578 | 281
4.7571e-07 | 387.1309 | 282
4.8653e-07 | 388.5029 | 283
4.9763e-07 | 389.876 | 284
5.0875e-07 | 391.249 | 285
5.1988e-07 | 392.6221 | 286
5.3135e-07 | 393.9941 | 287
5.4304e-07 | 395.3672 | 288
5.5485e-07 | 396.7402 | 289
5.6656e-07 | 398.1133 | 290
5.7863e-07 | 399.4854 | 291
5.91e-07 | 400.8584 | 292
6.0318e-07 | 402.2314 | 293
6.1562e-07 | 403.6045 | 294
6.284e-07 | 404.9775 | 295
6.4105e-07 | 406.3496 | 296
6.5407e-07 | 407.7227 | 297
6.6712e-07 | 409.0957 | 298
6.8037e-07 | 410.4678 | 299
6.9364e-07 | 411.8408 | 300