## Meter Scan
{79A32541-E41B-11d5-B53C-00105A18D1D9} |  |  |  | A Greater Measure of Confidence
{79A32543-E41B-11d5-B53C-00105A18D1D9} | DMM Scan: Scan DMM channels
1
Task: Meter Scan
Task | Name | Meter Scan
Description
| Created By | user
| Company | Microsoft
| Date Created | 2013-02-28
| Date Modified | 2013-02-28
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | Meter Config
Arm Trigger | Scan Mode | Run Once
Source
Count
Timer
Bypass
Sample Trigger | Source
Count
Delay
Bypass
Layer Done
Measurement Done
Data Location | Worksheet | Лист1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Use one table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Headers | Yes
| Add Units | No
| Scroll Display | No
| Status Data | No
| Timestamp | Absolute
| VSource | Yes
| Poll Interval | 100 | msec
Task Data
Note on C1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task initiates the measurement, reads and saves the measurement values in a worksheet and/or log file.
Note on A5: Enter descriptive information for this ExceLINX task
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Configuration sheet ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure worksheet to use for this task.
Note on A13: Setup for instrument arm layer.
Note on B13: Select the scan mode: Scan Once or Continuously
Note on B14: Select the control source of arm layer.
Note on B15: Enter measure count of arm layer.
Note on B16: Enter arm layer timer interval if using arm layer Source = Timer.
Note on D16: Select the units of time for trigger timer.
Note on B17: Select to enable or disable bypass of arm layer.
Note on A18: Setup for instrument trigger layer.
Note on B18: Select the control source of trigger layer.
Note on B19: Enter measure count of trigger layer.
Note on B20: Enter trigger delay of trigger layer.
Note on D20: Select the units of time for trigger delay.
Note on B21: Select to enable or disable bypass of trigger layer.
Note on B22: Select the output trigger line for the trigger layer is completed.
Note on B23: Select the output trigger line after a measurement is completed.
Note on A24: Select where and how ExceLINX will save data for this task.
Note on B24: Select the worksheet where ExceLINX will store the task data.
Note on B25: Enter the starting column for the task data.
Note on B26: Enter the starting row for the task data.
Note on B27: Select whether to organize task data by rows or columns.
Note on B28: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B29: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B30: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B31: Select log file data format.
Note on A32: Select how ExceLINX should format data for this task.
Note on B32: Select "Yes" if ExceLINX should add automatic task data headers.
Note on B33: Select "Yes" if ExceLINX should label data with measurement units.
Note on B34: ExceLINX should automatically display cells with the most recent data.
Note on B35: Select "Yes" if ExceLINX should retrieve the instrument status code.
Note on B36: Select timestamp format for measurements.
Note on B37: Select "Yes" if ExceLINX should retrieve the source voltage for each reading.
Note on B38: Select time interval for checking measurement status of instrument.
Note on D38: Select the units of time for poll Interval.
Note on A40: Default location to store task data. Change the location using the "Data Location" form.

## Meter Config
{79A32541-E41B-11d5-B53C-00105A18D1D9} |  | DMM Config: Configure DMM Channels | [9 empty] | A Greater Measure of Confidence
{79A32542-E41B-11d5-B53C-00105A18D1D9}
1
Task: Configure Meter
Task |  |  |  | Name |  |  |  |  | Meter Config
Description
|  |  |  | Created By |  |  |  |  | user
|  |  |  | Company |  |  |  |  | Microsoft
|  |  |  | Date Created |  |  |  |  | 2013-02-28
|  |  |  | Date Modified |  |  |  |  | 2013-02-28
Status/Cmds
Instrument |  |  |  | Device |  |  |  |  | KE6485_COM1
|  |  |  | Model |  |  |  |  | M6487
|  |  |  | Front Panel Lockout |  |  |  |  | On
Setup |  |  |  | Power Line Frequency |  |  |  |  | Auto
|  |  |  | Auto Zero |  |  |  |  | On
|  |  |  | Display Digits |  |  |  |  | 5½
|  |  |  | Zero Correct |  |  |  |  | Off
|  |  |  | Zero Check |  |  |  |  | Off
Digital Output |  |  |  | Digital Port Auto Clear |  |  |  |  | Off
|  |  |  | Digital Output Pattern |  |  |  |  | 15
|  |  |  | Test Pass Pattern |  |  |  |  | 15
|  |  |  | Lower 1 Fail Pattern |  |  |  |  | 15
|  |  |  | Upper 1 Fail Pattern |  |  |  |  | 15
|  |  |  | Lower 2 Fail Pattern |  |  |  |  | 15
|  |  |  | Upper 2 Fail Pattern |  |  |  |  | 15
|  |  |  | Pattern Pulse Width |  |  |  |  | 0.0001 |  |  |  | sec
|  |  |  | Line 4 Mode |  |  |  |  | EOT
|  |  |  | TTL Level for Busy |  |  |  |  | Low
Measurement Configuration
Measurement |  |  |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Median |  | Digital Filter |  | Sampling | Options
Function | Range | ULimit | LLimit | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Rank | Enb | Count | Rate | Opt1 | Opt2 | Opt3 | Opt4
Current | 2 uA | 0.021 | 2.1e-09 | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | Off |  | SLOW | Off
Source Configuration
Stimulus | [5 empty] | Current |  |  |  | Safety
Enb | Function |  | Range |  |  | Limit |  |  |  | Interlock
On | VSweep |  | Auto |  |  | 2.5 mA |  |  |  | Off
DC Source Parameters
Source Voltage
10
Voltage Sweep Parameters
Start Voltage |  | Stop Voltage |  | Step Voltage |  |  |  | Step Time(sec)
0 |  | 200 |  | 1 |  |  |  | 1
Alternating Voltage Parameters
Voltage | Time(sec) | Readings Per Voltage Phase |  |  |  | Cycles |  | Clear Buffer Before Each Scan
Note on F1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures 6485/6514 instrument and also serves as a configuration sheet for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task
Note on F5: Enter a brief name for this task.
Note on F6: Enter any additional comments for this task.
Note on F7: Enter the name of the person who created this task.
Note on F8: Enter the name of the comany that created this task.
Note on F9: Date that you first created this task.
Note on F10: Date that you last modified this task.
Note on F11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on F12: Select an instrument device for this task.
Note on F13: Instrument Model of the selected device.
Note on F14: Select to enable or disable the front panel key lockout
Note on A15: Setup how ExceLINX will configure global options for this instrument.
Note on F15: Select instrument power line frequency 50 or 60Hz; or Select 'Auto' to let the instrument automatically detect the power line frequency.
Note on F16: Select to enable or disable autozeroing of measurements.
Note on F17: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on F18: Select to enable or disable zero correction of measurements.
Note on F19: Select to enable or disable zerochecking of measurements.
Note on A20: Setup how ExceLINX will configure alarm limit options for instrument model 6487/6514.
Note on F20: Select to enable or disable digital port auto-clear.
Note on F21: Enter 4-bit (0 to 15) digital output pattern.
Note on F22: Enter 4-bit (0 to 15) limit test pass pattern of digital output.
Note on F23: Enter 4-bit (0 to 15) limit 1 lower fail pattern of digital output.
Note on F24: Enter 4-bit (0 to 15) limit 1 upper fail pattern of digital output.
Note on F25: Enter 4-bit (0 to 15) limit 2 lower fail pattern of digital output.
Note on F26: Enter 4-bit (0 to 15) limit 2 upper fail pattern of digital output.
Note on F27: Enter pulse width of digital output pattern.
Note on F28: Select the output line 4 mode.
Note on F29: Select the active TTL level for busy of output line 4.
Note on A31: Enter the configuration parameter values for this instrument.
Note on A32: Select measurement function, range for this instrument.
Note on F32: Select scaling options for this measurement.
Note on K32: Set alarm limits for this measurement.
Note on Q32: Select the median filter setting for this measurement.
Note on S32: Select the average filter setting for this measurement.
Note on U32: Select the sampling rate for this measurement.
Note on V32: Select from available options for this measurement function.
Note on A33: Select measurement function for this instrument.
Note on C33: Select measurement range for this instrument.
Note on D33: Enter the upper limit for auto-range.
Note on E33: Enter the lower limit for auto-range.
Note on F33: Enter a relative value to subtract from all measurements.
Note on G33: Select mathematical calculation method (linear, percent, or no scaling) for measurement.
Note on H33: Enter value for slope of linear scaling or value for percent deviation.
Note on I33: Enter offset value for linear scaling.
Note on J33: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K33: Enable or disable alarm 1 for this measurement.
Note on L33: Enter high value for limit range 1.
Note on M33: Enter low value for limit range 1.
Note on N33: Enable or disable alarm 2 for this measurement.
Note on O33: Enter high value for limit range 2.
Note on P33: Enter low value for limit range 2.
Note on Q33: Select to enable or disable median filter for this measurements.
Note on R33: Enter the rank value of median filter.
Note on S33: Select to enable or disable average filter for this measurements.
Note on T33: Enter the count value of average filter.
Note on U33: Select the sampling rate for this measurement.
Note on V33: Select to enable or disable guard for voltage, resistance; or damping for current; or auto-discharge for charge measurement.
Note on W33: Select to enable or disable external feedback for voltage; or Enter auto-discharge level for charge measurement.
Note on X33: Select the Vsource Operate/Standby state; or Enter Vsource output level for Model 6487 only.
Note on Y33: Enter the current limit for the Vsource for model 6487 only. The valid range is 0.000025 to 0.0025 Amps.
Note on A36: Enter the configuration parameter values for stimulus source.
Note on A37: Select the stimulus source parameters for this instrument.
Note on H37: Select the current options for this stimulus source.
Note on L37: Select the safety options for this stimulus source.
Note on A38: Select to enable/disable the stimulus source.
Note on C38: Select the stimulus source function for this instrument.
Note on E38: Select the stimulus source range for this instrument.
Note on H38: Select the stimulus source current limit for this instrument.
Note on L38: Select to enable/disable the stimulus source safety interlock.
Note on A41: Enter the configuration parameter values for stimulus source.
Note on A42: Enter the source voltage for the DC stimulus source function.
Note on A45: Enter the configuration parameter values for stimulus source.
Note on A46: Enter the start voltage for the voltage sweep stimulus source function.
Note on D46: Enter the stop voltage for the voltage sweep stimulus source function.
Note on F46: Enter the step voltage for the voltage sweep stimulus source function.
Note on J46: Enter the step duration in seconds for the voltage sweep stimulus source function.
Note on A49: Enter the configuration parameter values for stimulus source.
Note on A50: Enter voltage of the enabled phase for the voltage sweep stimulus source function.
Note on C50: Enter the half cycle duration in seconds for the voltage sweep stimulus source function.
Note on D50: Select the number of readings in a half cycle for the voltage sweep stimulus source function.
Note on H50: Enter the number of cycles to average readings for the voltage sweep stimulus source function.
Note on J50: Select whether to clear the average reading buffer before each scan for the voltage sweep stimulus source function.

## Лист1
Readings | Timestamp | VSource
8.6103e-10 | 0 | 0
2.4421e-08 | 1.3809 | 1
2.893e-08 | 2.7588 | 2
3.4003e-08 | 4.1387 | 3
4.02e-08 | 5.5166 | 4
4.7572e-08 | 6.8965 | 5
5.6131e-08 | 8.2773 | 6
6.5359e-08 | 9.6562 | 7
7.4821e-08 | 11.0352 | 8
8.4553e-08 | 12.4131 | 9
9.4074e-08 | 13.791 | 10
1.0379e-07 | 15.1699 | 11
1.1277e-07 | 16.5479 | 12
1.2192e-07 | 17.9268 | 13
1.3038e-07 | 19.3047 | 14
1.3757e-07 | 20.6816 | 15
1.4481e-07 | 22.0605 | 16
1.5235e-07 | 23.4414 | 17
1.5936e-07 | 24.8184 | 18
1.6649e-07 | 26.1982 | 19
1.7316e-07 | 27.5762 | 20
1.7987e-07 | 28.9561 | 21
1.8694e-07 | 30.3359 | 22
1.9332e-07 | 31.7129 | 23
1.9952e-07 | 33.0928 | 24
2.062e-07 | 34.4727 | 25
2.1217e-07 | 35.8516 | 26
2.1843e-07 | 37.2305 | 27
2.2447e-07 | 38.6094 | 28
2.3025e-07 | 39.9863 | 29
2.3605e-07 | 41.3652 | 30
2.4168e-07 | 42.7422 | 31
2.4779e-07 | 44.1211 | 32
2.5335e-07 | 45.5 | 33
2.5815e-07 | 46.8799 | 34
2.6441e-07 | 48.2588 | 35
2.6998e-07 | 49.6367 | 36
2.7543e-07 | 51.0176 | 37
2.8105e-07 | 52.3955 | 38
2.8547e-07 | 53.7734 | 39
2.9022e-07 | 55.1533 | 40
2.9595e-07 | 56.5303 | 41
3.0008e-07 | 57.9072 | 42
3.0641e-07 | 59.2842 | 43
3.1112e-07 | 60.6631 | 44
3.1636e-07 | 62.041 | 45
3.2086e-07 | 63.4199 | 46
3.2596e-07 | 64.7978 | 47
3.3102e-07 | 66.1748 | 48
3.3528e-07 | 67.5537 | 49
3.4058e-07 | 68.9336 | 50
3.4486e-07 | 70.3125 | 51
3.5007e-07 | 71.6924 | 52
3.541e-07 | 73.0713 | 53
3.5877e-07 | 74.4502 | 54
3.6314e-07 | 75.8291 | 55
3.6776e-07 | 77.209 | 56
3.7235e-07 | 78.5879 | 57
3.766e-07 | 79.9658 | 58
3.8061e-07 | 81.3438 | 59
3.8519e-07 | 82.7217 | 60
3.8957e-07 | 84.0996 | 61
3.9411e-07 | 85.4795 | 62
3.9887e-07 | 86.8594 | 63
4.0401e-07 | 88.2383 | 64
4.0729e-07 | 89.6172 | 65
4.1186e-07 | 90.9971 | 66
4.161e-07 | 92.376 | 67
4.189e-07 | 93.7539 | 68
4.2394e-07 | 95.1328 | 69
4.2829e-07 | 96.5098 | 70
4.3218e-07 | 97.8897 | 71
4.3698e-07 | 99.2695 | 72
4.4028e-07 | 100.6475 | 73
4.4581e-07 | 102.0273 | 74
4.4938e-07 | 103.4072 | 75
4.5308e-07 | 104.7842 | 76
4.5868e-07 | 106.1641 | 77
4.6167e-07 | 107.5439 | 78
4.6458e-07 | 108.9229 | 79
4.6931e-07 | 110.3027 | 80
4.7318e-07 | 111.6797 | 81
4.7685e-07 | 113.0596 | 82
4.8122e-07 | 114.4385 | 83
4.8489e-07 | 115.8164 | 84
4.8941e-07 | 117.1963 | 85
4.9284e-07 | 118.5742 | 86
4.955e-07 | 119.9541 | 87
4.9957e-07 | 121.333 | 88
5.0331e-07 | 122.7109 | 89
5.082e-07 | 124.0898 | 90
5.1205e-07 | 125.4668 | 91
5.1517e-07 | 126.8457 | 92
5.2032e-07 | 128.2246 | 93
5.2478e-07 | 129.6035 | 94
5.2804e-07 | 130.9824 | 95
5.3148e-07 | 132.3604 | 96
5.3594e-07 | 133.7393 | 97
5.3909e-07 | 135.1182 | 98
5.4211e-07 | 136.4971 | 99
5.4639e-07 | 137.876 | 100
5.4999e-07 | 139.2539 | 101
5.536e-07 | 140.6318 | 102
5.5745e-07 | 142.0107 | 103
5.6091e-07 | 143.3926 | 104
5.6618e-07 | 144.7705 | 105
5.6787e-07 | 146.1504 | 106
5.7209e-07 | 147.5293 | 107
5.7763e-07 | 148.9092 | 108
5.7961e-07 | 150.2861 | 109
5.8535e-07 | 151.6641 | 110
5.8923e-07 | 153.042 | 111
5.9243e-07 | 154.4199 | 112
5.9635e-07 | 155.7979 | 113
6.0133e-07 | 157.1748 | 114
6.0357e-07 | 158.5537 | 115
6.0943e-07 | 159.9326 | 116
6.1289e-07 | 161.3105 | 117
6.1661e-07 | 162.6895 | 118
6.204e-07 | 164.0684 | 119
6.2386e-07 | 165.4473 | 120
6.2762e-07 | 166.8242 | 121
6.322e-07 | 168.2031 | 122
6.3766e-07 | 169.582 | 123
6.3907e-07 | 170.9619 | 124
6.4367e-07 | 172.3418 | 125
6.5031e-07 | 173.7188 | 126
6.5078e-07 | 175.0986 | 127
6.5582e-07 | 176.4756 | 128
6.6029e-07 | 177.8555 | 129
6.6406e-07 | 179.2334 | 130
6.6971e-07 | 180.6104 | 131
6.7606e-07 | 181.9902 | 132
6.7859e-07 | 183.3691 | 133
6.8351e-07 | 184.7461 | 134
6.8644e-07 | 186.124 | 135
6.9197e-07 | 187.5029 | 136
6.9812e-07 | 188.8818 | 137
6.996e-07 | 190.2607 | 138
7.0203e-07 | 191.6387 | 139
7.0635e-07 | 193.0156 | 140
7.1217e-07 | 194.3955 | 141
7.1345e-07 | 195.7754 | 142
7.1762e-07 | 197.1543 | 143
7.2216e-07 | 198.5332 | 144
7.2606e-07 | 199.9121 | 145
7.2924e-07 | 201.2891 | 146
7.3753e-07 | 202.6689 | 147
7.4187e-07 | 204.0479 | 148
7.4488e-07 | 205.4258 | 149
7.4838e-07 | 206.8047 | 150
7.526e-07 | 208.1826 | 151
7.574e-07 | 209.5605 | 152
7.6203e-07 | 210.9395 | 153
7.6521e-07 | 212.3184 | 154
7.7287e-07 | 213.6973 | 155
7.7597e-07 | 215.0762 | 156
7.7846e-07 | 216.4561 | 157
7.8153e-07 | 217.832 | 158
7.864e-07 | 219.2129 | 159
7.9165e-07 | 220.5918 | 160
7.9495e-07 | 221.9707 | 161
8.0145e-07 | 223.3506 | 162
8.0648e-07 | 224.7295 | 163
8.1023e-07 | 226.1074 | 164
8.1422e-07 | 227.4873 | 165
8.1697e-07 | 228.8662 | 166
8.2199e-07 | 230.2432 | 167
8.244e-07 | 231.6211 | 168
8.3131e-07 | 233 | 169
8.3457e-07 | 234.3779 | 170
8.4031e-07 | 235.7578 | 171
8.4368e-07 | 237.1367 | 172
8.4815e-07 | 238.5146 | 173
8.5535e-07 | 239.8936 | 174
8.6024e-07 | 241.2715 | 175
8.6016e-07 | 242.6494 | 176
8.6697e-07 | 244.0283 | 177
8.7104e-07 | 245.4072 | 178
8.7898e-07 | 246.7861 | 179
8.8011e-07 | 248.165 | 180
8.8323e-07 | 249.543 | 181
8.9294e-07 | 250.9238 | 182
8.9339e-07 | 252.3018 | 183
8.986e-07 | 253.6807 | 184
9.0263e-07 | 255.0596 | 185
9.0403e-07 | 256.4385 | 186
9.1012e-07 | 257.8174 | 187
9.1605e-07 | 259.1953 | 188
9.2387e-07 | 260.5732 | 189
9.2532e-07 | 261.9521 | 190
9.3048e-07 | 263.3291 | 191
9.354e-07 | 264.708 | 192
9.4011e-07 | 266.0879 | 193
9.4761e-07 | 267.4609 | 194
9.5176e-07 | 268.834 | 195
9.5597e-07 | 270.2148 | 196
9.6006e-07 | 271.5938 | 197
9.642e-07 | 272.9736 | 198
9.679e-07 | 274.3545 | 199
9.7776e-07 | 275.7354 | 200