## Meter Scan
{79A32541-E41B-11d5-B53C-00105A18D1D9} |  |  |  | A Greater Measure of Confidence
{79A32543-E41B-11d5-B53C-00105A18D1D9} | DMM Scan: Scan DMM channels
1
Task: Meter Scan
Task | Name | Meter Scan
Description
| Created By | user
| Company | Microsoft
| Date Created | 2013-02-28
| Date Modified | 2013-02-28
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | Meter Config
Arm Trigger | Scan Mode | Run Once
Source
Count
Timer
Bypass
Sample Trigger | Source
Count
Delay
Bypass
Layer Done
Measurement Done
Data Location | Worksheet | Лист1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Use one table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Headers | Yes
| Add Units | No
| Scroll Display | No
| Status Data | No
| Timestamp | Absolute
| VSource | Yes
| Poll Interval | 100 | msec
Task Data
Note on C1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task initiates the measurement, reads and saves the measurement values in a worksheet and/or log file.
Note on A5: Enter descriptive information for this ExceLINX task
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Configuration sheet ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure worksheet to use for this task.
Note on A13: Setup for instrument arm layer.
Note on B13: Select the scan mode: Scan Once or Continuously
Note on B14: Select the control source of arm layer.
Note on B15: Enter measure count of arm layer.
Note on B16: Enter arm layer timer interval if using arm layer Source = Timer.
Note on D16: Select the units of time for trigger timer.
Note on B17: Select to enable or disable bypass of arm layer.
Note on A18: Setup for instrument trigger layer.
Note on B18: Select the control source of trigger layer.
Note on B19: Enter measure count of trigger layer.
Note on B20: Enter trigger delay of trigger layer.
Note on D20: Select the units of time for trigger delay.
Note on B21: Select to enable or disable bypass of trigger layer.
Note on B22: Select the output trigger line for the trigger layer is completed.
Note on B23: Select the output trigger line after a measurement is completed.
Note on A24: Select where and how ExceLINX will save data for this task.
Note on B24: Select the worksheet where ExceLINX will store the task data.
Note on B25: Enter the starting column for the task data.
Note on B26: Enter the starting row for the task data.
Note on B27: Select whether to organize task data by rows or columns.
Note on B28: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B29: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B30: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B31: Select log file data format.
Note on A32: Select how ExceLINX should format data for this task.
Note on B32: Select "Yes" if ExceLINX should add automatic task data headers.
Note on B33: Select "Yes" if ExceLINX should label data with measurement units.
Note on B34: ExceLINX should automatically display cells with the most recent data.
Note on B35: Select "Yes" if ExceLINX should retrieve the instrument status code.
Note on B36: Select timestamp format for measurements.
Note on B37: Select "Yes" if ExceLINX should retrieve the source voltage for each reading.
Note on B38: Select time interval for checking measurement status of instrument.
Note on D38: Select the units of time for poll Interval.
Note on A40: Default location to store task data. Change the location using the "Data Location" form.

## Meter Config
{79A32541-E41B-11d5-B53C-00105A18D1D9} |  | DMM Config: Configure DMM Channels | [9 empty] | A Greater Measure of Confidence
{79A32542-E41B-11d5-B53C-00105A18D1D9}
1
Task: Configure Meter
Task |  |  |  | Name |  |  |  |  | Meter Config
Description
|  |  |  | Created By |  |  |  |  | user
|  |  |  | Company |  |  |  |  | Microsoft
|  |  |  | Date Created |  |  |  |  | 2013-02-28
|  |  |  | Date Modified |  |  |  |  | 2013-02-28
Status/Cmds
Instrument |  |  |  | Device |  |  |  |  | KE6485_COM1
|  |  |  | Model |  |  |  |  | M6487
|  |  |  | Front Panel Lockout |  |  |  |  | On
Setup |  |  |  | Power Line Frequency |  |  |  |  | Auto
|  |  |  | Auto Zero |  |  |  |  | On
|  |  |  | Display Digits |  |  |  |  | 5½
|  |  |  | Zero Correct |  |  |  |  | Off
|  |  |  | Zero Check |  |  |  |  | Off
Digital Output |  |  |  | Digital Port Auto Clear |  |  |  |  | Off
|  |  |  | Digital Output Pattern |  |  |  |  | 15
|  |  |  | Test Pass Pattern |  |  |  |  | 15
|  |  |  | Lower 1 Fail Pattern |  |  |  |  | 15
|  |  |  | Upper 1 Fail Pattern |  |  |  |  | 15
|  |  |  | Lower 2 Fail Pattern |  |  |  |  | 15
|  |  |  | Upper 2 Fail Pattern |  |  |  |  | 15
|  |  |  | Pattern Pulse Width |  |  |  |  | 0.0001 |  |  |  | sec
|  |  |  | Line 4 Mode |  |  |  |  | EOT
|  |  |  | TTL Level for Busy |  |  |  |  | Low
Measurement Configuration
Measurement |  |  |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Median |  | Digital Filter |  | Sampling | Options
Function | Range | ULimit | LLimit | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Rank | Enb | Count | Rate | Opt1 | Opt2 | Opt3 | Opt4
Current | 2 uA | 0.021 | 2.1e-09 | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | Off |  | SLOW | Off
Source Configuration
Stimulus | [5 empty] | Current |  |  |  | Safety
Enb | Function |  | Range |  |  | Limit |  |  |  | Interlock
On | VSweep |  | Auto |  |  | 2.5 mA |  |  |  | Off
DC Source Parameters
Source Voltage
10
Voltage Sweep Parameters
Start Voltage |  | Stop Voltage |  | Step Voltage |  |  |  | Step Time(sec)
0 |  | 200 |  | 1 |  |  |  | 1
Alternating Voltage Parameters
Voltage | Time(sec) | Readings Per Voltage Phase |  |  |  | Cycles |  | Clear Buffer Before Each Scan
Note on F1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures 6485/6514 instrument and also serves as a configuration sheet for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task
Note on F5: Enter a brief name for this task.
Note on F6: Enter any additional comments for this task.
Note on F7: Enter the name of the person who created this task.
Note on F8: Enter the name of the comany that created this task.
Note on F9: Date that you first created this task.
Note on F10: Date that you last modified this task.
Note on F11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on F12: Select an instrument device for this task.
Note on F13: Instrument Model of the selected device.
Note on F14: Select to enable or disable the front panel key lockout
Note on A15: Setup how ExceLINX will configure global options for this instrument.
Note on F15: Select instrument power line frequency 50 or 60Hz; or Select 'Auto' to let the instrument automatically detect the power line frequency.
Note on F16: Select to enable or disable autozeroing of measurements.
Note on F17: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on F18: Select to enable or disable zero correction of measurements.
Note on F19: Select to enable or disable zerochecking of measurements.
Note on A20: Setup how ExceLINX will configure alarm limit options for instrument model 6487/6514.
Note on F20: Select to enable or disable digital port auto-clear.
Note on F21: Enter 4-bit (0 to 15) digital output pattern.
Note on F22: Enter 4-bit (0 to 15) limit test pass pattern of digital output.
Note on F23: Enter 4-bit (0 to 15) limit 1 lower fail pattern of digital output.
Note on F24: Enter 4-bit (0 to 15) limit 1 upper fail pattern of digital output.
Note on F25: Enter 4-bit (0 to 15) limit 2 lower fail pattern of digital output.
Note on F26: Enter 4-bit (0 to 15) limit 2 upper fail pattern of digital output.
Note on F27: Enter pulse width of digital output pattern.
Note on F28: Select the output line 4 mode.
Note on F29: Select the active TTL level for busy of output line 4.
Note on A31: Enter the configuration parameter values for this instrument.
Note on A32: Select measurement function, range for this instrument.
Note on F32: Select scaling options for this measurement.
Note on K32: Set alarm limits for this measurement.
Note on Q32: Select the median filter setting for this measurement.
Note on S32: Select the average filter setting for this measurement.
Note on U32: Select the sampling rate for this measurement.
Note on V32: Select from available options for this measurement function.
Note on A33: Select measurement function for this instrument.
Note on C33: Select measurement range for this instrument.
Note on D33: Enter the upper limit for auto-range.
Note on E33: Enter the lower limit for auto-range.
Note on F33: Enter a relative value to subtract from all measurements.
Note on G33: Select mathematical calculation method (linear, percent, or no scaling) for measurement.
Note on H33: Enter value for slope of linear scaling or value for percent deviation.
Note on I33: Enter offset value for linear scaling.
Note on J33: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K33: Enable or disable alarm 1 for this measurement.
Note on L33: Enter high value for limit range 1.
Note on M33: Enter low value for limit range 1.
Note on N33: Enable or disable alarm 2 for this measurement.
Note on O33: Enter high value for limit range 2.
Note on P33: Enter low value for limit range 2.
Note on Q33: Select to enable or disable median filter for this measurements.
Note on R33: Enter the rank value of median filter.
Note on S33: Select to enable or disable average filter for this measurements.
Note on T33: Enter the count value of average filter.
Note on U33: Select the sampling rate for this measurement.
Note on V33: Select to enable or disable guard for voltage, resistance; or damping for current; or auto-discharge for charge measurement.
Note on W33: Select to enable or disable external feedback for voltage; or Enter auto-discharge level for charge measurement.
Note on X33: Select the Vsource Operate/Standby state; or Enter Vsource output level for Model 6487 only.
Note on Y33: Enter the current limit for the Vsource for model 6487 only. The valid range is 0.000025 to 0.0025 Amps.
Note on A36: Enter the configuration parameter values for stimulus source.
Note on A37: Select the stimulus source parameters for this instrument.
Note on H37: Select the current options for this stimulus source.
Note on L37: Select the safety options for this stimulus source.
Note on A38: Select to enable/disable the stimulus source.
Note on C38: Select the stimulus source function for this instrument.
Note on E38: Select the stimulus source range for this instrument.
Note on H38: Select the stimulus source current limit for this instrument.
Note on L38: Select to enable/disable the stimulus source safety interlock.
Note on A41: Enter the configuration parameter values for stimulus source.
Note on A42: Enter the source voltage for the DC stimulus source function.
Note on A45: Enter the configuration parameter values for stimulus source.
Note on A46: Enter the start voltage for the voltage sweep stimulus source function.
Note on D46: Enter the stop voltage for the voltage sweep stimulus source function.
Note on F46: Enter the step voltage for the voltage sweep stimulus source function.
Note on J46: Enter the step duration in seconds for the voltage sweep stimulus source function.
Note on A49: Enter the configuration parameter values for stimulus source.
Note on A50: Enter voltage of the enabled phase for the voltage sweep stimulus source function.
Note on C50: Enter the half cycle duration in seconds for the voltage sweep stimulus source function.
Note on D50: Select the number of readings in a half cycle for the voltage sweep stimulus source function.
Note on H50: Enter the number of cycles to average readings for the voltage sweep stimulus source function.
Note on J50: Select whether to clear the average reading buffer before each scan for the voltage sweep stimulus source function.

## Лист1
Readings | Timestamp | VSource
-1.3502e-10 | 0 | 0
1.6241e-09 | 1.3818 | 1
2.0728e-09 | 2.7627 | 2
2.5441e-09 | 4.1436 | 3
3.0521e-09 | 5.5225 | 4
3.585e-09 | 6.9033 | 5
4.1469e-09 | 8.2822 | 6
4.7661e-09 | 9.6611 | 7
5.3136e-09 | 11.041 | 8
5.9162e-09 | 12.4199 | 9
6.5511e-09 | 13.8027 | 10
7.1893e-09 | 15.1836 | 11
7.8096e-09 | 16.5645 | 12
8.4016e-09 | 17.9424 | 13
8.9975e-09 | 19.3232 | 14
9.5795e-09 | 20.7051 | 15
1.0139e-08 | 22.0869 | 16
1.0706e-08 | 23.4648 | 17
1.1259e-08 | 24.8428 | 18
1.1809e-08 | 26.2236 | 19
1.2345e-08 | 27.6045 | 20
1.2889e-08 | 28.9863 | 21
1.3418e-08 | 30.3682 | 22
1.393e-08 | 31.749 | 23
1.444e-08 | 33.1299 | 24
1.496e-08 | 34.5098 | 25
1.5479e-08 | 35.8887 | 26
1.5983e-08 | 37.2685 | 27
1.6492e-08 | 38.6465 | 28
1.7008e-08 | 40.0264 | 29
1.7475e-08 | 41.4072 | 30
1.7977e-08 | 42.7881 | 31
1.8448e-08 | 44.169 | 32
1.8915e-08 | 45.5488 | 33
1.937e-08 | 46.9277 | 34
1.9849e-08 | 48.3066 | 35
2.0302e-08 | 49.6875 | 36
2.077e-08 | 51.0693 | 37
2.1216e-08 | 52.4482 | 38
2.1651e-08 | 53.8291 | 39
2.206e-08 | 55.208 | 40
2.2519e-08 | 56.5879 | 41
2.2963e-08 | 57.9697 | 42
2.3413e-08 | 59.3496 | 43
2.3834e-08 | 60.7285 | 44
2.4268e-08 | 62.1084 | 45
2.4677e-08 | 63.4883 | 46
2.5084e-08 | 64.8662 | 47
2.5517e-08 | 66.2451 | 48
2.593e-08 | 67.626 | 49
2.633e-08 | 69.0068 | 50
2.6754e-08 | 70.3867 | 51
2.7151e-08 | 71.7666 | 52
2.7551e-08 | 73.1465 | 53
2.7934e-08 | 74.5273 | 54
2.8398e-08 | 75.9072 | 55
2.883e-08 | 77.2871 | 56
2.9206e-08 | 78.668 | 57
2.9628e-08 | 80.0478 | 58
3.0019e-08 | 81.4277 | 59
3.0472e-08 | 82.8076 | 60
3.0858e-08 | 84.1885 | 61
3.1287e-08 | 85.5684 | 62
3.1678e-08 | 86.9512 | 63
3.2055e-08 | 88.334 | 64
3.2465e-08 | 89.7168 | 65
3.2858e-08 | 91.0967 | 66
3.3277e-08 | 92.4785 | 67
3.3724e-08 | 93.8564 | 68
3.4131e-08 | 95.2383 | 69
3.4549e-08 | 96.6191 | 70
3.4928e-08 | 97.999 | 71
3.5382e-08 | 99.3789 | 72
3.5797e-08 | 100.7598 | 73
3.6203e-08 | 102.1387 | 74
3.6608e-08 | 103.5186 | 75
3.7059e-08 | 104.8955 | 76
3.7483e-08 | 106.2754 | 77
3.7918e-08 | 107.6572 | 78
3.8305e-08 | 109.0391 | 79
3.8735e-08 | 110.4209 | 80
3.9157e-08 | 111.8027 | 81
3.9566e-08 | 113.1836 | 82
4.0019e-08 | 114.5645 | 83
4.0431e-08 | 115.9443 | 84
4.0876e-08 | 117.3242 | 85
4.13e-08 | 118.7041 | 86
4.1688e-08 | 120.085 | 87
4.2182e-08 | 121.4668 | 88
4.2551e-08 | 122.8477 | 89
4.2991e-08 | 124.2275 | 90
4.3405e-08 | 125.6064 | 91
4.3859e-08 | 126.9873 | 92
4.4306e-08 | 128.3672 | 93
4.4758e-08 | 129.7471 | 94
4.5197e-08 | 131.1299 | 95
4.5651e-08 | 132.5098 | 96
4.6044e-08 | 133.8887 | 97
4.6507e-08 | 135.2715 | 98
4.6942e-08 | 136.6514 | 99
4.739e-08 | 138.0322 | 100
4.7826e-08 | 139.4111 | 101
4.826e-08 | 140.791 | 102
4.8677e-08 | 142.1719 | 103
4.913e-08 | 143.5537 | 104
4.9606e-08 | 144.9346 | 105
5.0044e-08 | 146.3164 | 106
5.0476e-08 | 147.6973 | 107
5.095e-08 | 149.0762 | 108
5.1431e-08 | 150.4561 | 109
5.1835e-08 | 151.835 | 110
5.2318e-08 | 153.2148 | 111
5.2743e-08 | 154.5947 | 112
5.316e-08 | 155.9746 | 113
5.3638e-08 | 157.3555 | 114
5.4074e-08 | 158.7363 | 115
5.4554e-08 | 160.1143 | 116
5.5023e-08 | 161.4922 | 117
5.5475e-08 | 162.873 | 118
5.591e-08 | 164.2549 | 119
5.6399e-08 | 165.6348 | 120
5.694e-08 | 167.0166 | 121
5.7332e-08 | 168.3984 | 122
5.7865e-08 | 169.7803 | 123
5.8378e-08 | 171.1611 | 124
5.8829e-08 | 172.543 | 125
5.9255e-08 | 173.9229 | 126
5.9699e-08 | 175.3037 | 127
6.0155e-08 | 176.6846 | 128
6.0666e-08 | 178.0664 | 129
6.1185e-08 | 179.4482 | 130
6.1622e-08 | 180.8271 | 131
6.2106e-08 | 182.209 | 132
6.2629e-08 | 183.5869 | 133
6.3144e-08 | 184.9678 | 134
6.3599e-08 | 186.3496 | 135
6.4054e-08 | 187.7305 | 136
6.4556e-08 | 189.1113 | 137
6.5054e-08 | 190.4932 | 138
6.5574e-08 | 191.8711 | 139
6.6023e-08 | 193.25 | 140
6.6598e-08 | 194.6309 | 141
6.7082e-08 | 196.0127 | 142
6.7559e-08 | 197.3926 | 143
6.8046e-08 | 198.7725 | 144
6.8517e-08 | 200.1553 | 145
6.9017e-08 | 201.5361 | 146
6.9537e-08 | 202.918 | 147
7.0019e-08 | 204.2979 | 148
7.055e-08 | 205.6758 | 149
7.1082e-08 | 207.0547 | 150
7.159e-08 | 208.4355 | 151
7.2113e-08 | 209.8145 | 152
7.2643e-08 | 211.1963 | 153
7.3107e-08 | 212.5752 | 154
7.359e-08 | 213.9541 | 155
7.4026e-08 | 215.335 | 156
7.4583e-08 | 216.7148 | 157
7.5139e-08 | 218.0947 | 158
7.5669e-08 | 219.4766 | 159
7.6173e-08 | 220.8564 | 160
7.6727e-08 | 222.2373 | 161
7.7167e-08 | 223.6182 | 162
7.7693e-08 | 225 | 163
7.8225e-08 | 226.3789 | 164
7.8743e-08 | 227.7559 | 165
7.9259e-08 | 229.1367 | 166
7.979e-08 | 230.5176 | 167
8.0245e-08 | 231.8975 | 168
8.0805e-08 | 233.2803 | 169
8.1287e-08 | 234.6611 | 170
8.1877e-08 | 236.04 | 171
8.244e-08 | 237.4209 | 172
8.295e-08 | 238.8008 | 173
8.3509e-08 | 240.1816 | 174
8.3976e-08 | 241.5605 | 175
8.4601e-08 | 242.9414 | 176
8.5136e-08 | 244.3203 | 177
8.5734e-08 | 245.7002 | 178
8.6198e-08 | 247.0801 | 179
8.6842e-08 | 248.46 | 180
8.736e-08 | 249.8369 | 181
8.7897e-08 | 251.2168 | 182
8.8497e-08 | 252.5967 | 183
8.9118e-08 | 253.9785 | 184
8.9636e-08 | 255.3594 | 185
9.0252e-08 | 256.7393 | 186
9.0802e-08 | 258.1182 | 187
9.1434e-08 | 259.499 | 188
9.187e-08 | 260.8779 | 189
9.2535e-08 | 262.2598 | 190
9.3111e-08 | 263.6406 | 191
9.3648e-08 | 265.0215 | 192
9.4167e-08 | 266.3994 | 193
9.4756e-08 | 267.7803 | 194
9.5293e-08 | 269.1592 | 195
9.5974e-08 | 270.5391 | 196
9.6548e-08 | 271.917 | 197
9.7056e-08 | 273.2969 | 198
9.7657e-08 | 274.6748 | 199
9.8321e-08 | 276.0566 | 200